## BRU
Lot 1 – BRUSSELS price schedule
A. Human resources – profiles |  | Number of staff | Daily unit price | Total price 220 days
Maintenance technician |  | 3 |  | 0
Programmer technician |  | 1 |  | 0
Administrative assistant |  | 1 |  | 0
CMMS manager |  | 1 |  | 0
Technical draughtsperson |  | 1 |  | 0
TOTAL A : Human resources |  |  |  | 0
B. Material for Type I stock – description/type/model |  | Quantity | Unit price | Total price
PC, servers, NAS, + accessories
6Gb/s SATA hard disk, 8Tb (operational 24h/24) MTTF 1 Mhour |  | 10 |  | 0
NAs Synology RS818RP +/4 racks, rackable/8Gb RAM |  | 2 |  | 0
Badge reader (BR) NEDAP, RDR, lift control
NEDAP Convex MD80 for recessed mounting |  | 10 |  | 0
NEDAP Convex MD80c for recessed mounting |  | 10 |  | 0
NEDAP Convex MD80 for surface mounting |  | 10 |  | 0
NEDAP Convex MD80c for surface mounting |  | 10 |  | 0
NEDAP Invexs 170 |  | 2 |  | 0
NEDAP Invexs 190 |  | 2 |  | 0
Controllers SMS, UGIS, NEDAP, AEOS, UPS, DCU, RCU, power peripherals, intrusion control panel
NEDAP AEOS blue door controller AP 7803 |  | 5 |  | 0
NEDAP AEOS access control controller AP 7003 |  | 5 |  | 0
NEDAP AEOS blue power supply AP 7021 |  | 5 |  | 0
NEDAP AEOS I/O interface AP 7031 |  | 5 |  | 0
Power supply 5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 3.5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 24v greater than 150w |  | 3 |  | 0
Power supply 24v greater than 600w |  | 3 |  | 0
Doors (TA, UGIS, SMS, NEDAP) + peripheral equipment
Electric strike – Effeff 131 left |  | 1 |  | 0
Electric strike – Effeff 131 right |  | 1 |  | 0
Electric strike (VER) 18 EA71 HZ (EMISSION) |  | 5 |  | 0
Electric strike for swing door (G_V) 351U80RR |  | 5 |  | 0
High-security electric strike (G_HS) EFF-EFF 131 |  | 5 |  | 0
High-security electric strike with anti-panic function (G_HS_P) EFF-EFF 331 |  | 5 |  | 0
Alarmtech DC128 magnetic contact |  | 10 |  | 0
Alarmtech DC138 magnetic contact |  | 10 |  | 0
Alarmtech MC470T magnetic contact |  | 10 |  | 0
Alarmtech DC110 magnetic contact |  | 5 |  | 0
Electromechanical locks with high-security deadbolt (SER_HS and SER_HS_P) Brinks 2020L-RH |  | 5 |  | 0
Electromechanical locks with high-security deadbolt (SER_HS and SER_HS_P) EFF-EFF EL532 |  | 5 |  | 0
Electrical locks for swing doors (SER_V) 351M80+DMC21 |  | 5 |  | 0
Mechanical lock with panic button and DOM_SIGMA Plus K6 cylinder |  | 5 |  | 0
Electromechanical locks with high-security deadbolt (SER_HS and SER_HS_P) Assa Abloy Technilock L4 |  | 5 |  | 0
Mounted maglocks +/-3000N (VM_3k) EM 3000AH / V3SR |  | 5 |  | 0
Shear maglocks (VM_3k_Shear) PWM25ER |  | 5 |  | 0
Mounted maglocks +/-5000N (VM_5k) EM 5300AH / V5SR |  | 5 |  | 0
Mounted maglocks +/-6500N (VM_6k) EM 7500-D AM |  | 5 |  | 0
BBG – Izyx RCP310G |  | 10 |  | 0
Push button EFFEFFF 1011 |  | 10 |  | 0
Buzzer – UTCAI673 |  | 2 |  | 0
TRAKA cabinets and Strip
Strip for TRAKA cabinet – 10 spaces |  | 3 |  | 0
Standard iFOB for TRAKA cabinet |  | 30 |  | 0
Car park: decoder, sign, detector
Schick signal park SP132LND or compatible |  | 10 |  | 0
Radio, accessories and chargers (Motorola MTP3550 radio)
NNTN8020 – 1650 mAh standard capacity li-ion battery |  | 10 |  | 0
PMLN5616 - 2” Belt clip |  | 10 |  | 0
85012033001 Antenna Stubby 380-430 MHz 80mm |  | 10 |  | 0
PMLN5724 2-wire surveillance kit with quick disconnect acoustic tube – complete kit |  | 10 |  | 0
RLN6242A acoustic tube assembly |  | 20 |  | 0
PMMN4072 – IMPRES large remote speaker microphone with noise-cancelling microphone, louder audio, audio jack and emergency button, IP54 |  | 5 |  | 0
NNTN8133 Personal radio charger with Euro plug adapter included in kit |  | 5 |  | 0
Desktop individual chargers: PMLN6494 – Desktop dual-unit charger for charging radio and spare battery simultaneously (Euro plug). Euro plug included in kit |  | 5 |  | 0
NNTN8152 Multi-unit charger with 6 battery pockets (Euro plug) |  | 5 |  | 0
NNTN8037 Battery charging insert for multi-unit charger |  | 5 |  | 0
NNTN8036 Radio charging insert for multi-unit charger, insert is iTM compatible |  | 5 |  | 0
CCTV camera
Axis Q3515-LV |  | 1 |  | 0
Axis P3717-LPE |  | 1 |  | 0
Axis P1375 |  | 1 |  | 0
Axis P5655-E |  | 1 |  | 0
Power supply PoE++ - 60W |  | 10 |  | 0
PoE injector++ 8 ports - 60W |  | 5 |  | 0
Fibre converter 10/100/1000Mbps single |  | 10 |  | 0
Silent alarm and PRM WC alarm
Double Tap panic button with reset key – cable version |  | 2 |  | 0
Detectors (motion, seismic, IR beam)
OPTEX beam IR EX200TN (set) |  | 1 |  | 0
Aritech EV669 indoor motion sensor |  | 2 |  | 0
OPTEX VXS-DAM outdoor motion sensor |  | 1 |  | 0
Industrial batteries (Yuasa, Varta, Fiamm, Duracell or similar)
AGM 1.2Ah – 12v lead battery |  | 1 |  | 0
AGM 7Ah – 12v lead battery |  | 1 |  | 0
AGM 12Ah – 12v lead battery |  | 1 |  | 0
Cabling and cabling accessories
S/FTP Cat 7 – 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 7 – 100 pieces |  | 1 |  | 0
S/FTP Cat 6a – 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 6a – 100 pieces |  | 1 |  | 0
Schneider NSYTBP24198 BCR box |  | 2 |  | 0
Spelsberg RKK 4/18-18/4² |  | 10 |  | 0
NO tamper switch – 10mm approx. – surface mounting |  | 10 |  | 0
AL-LSOH signalling cable 2x0.75 + 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 4x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 8x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 3x0.75 + 15x0.22mm² halogen-free – 100m |  | 1 |  | 0
LiHCH halogen-free data transmission cable 3x2x0.25mm² – 100m |  | 1 |  | 0
Eurosafe fire-safety circuit cable 2x2x0.9mm RF2 – 100m |  | 1 |  | 0
TPGF halogen-free telephone cable 15x2x0.6mm – 200m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x2.5mm² – 50m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x1.5mm² – 50m |  | 1 |  | 0
LiHH halogen-free control cable 4x0.75mm² – 100m |  | 1 |  | 0
KONE Dynofil DATAWYLER 4x4x2x AWG 26 S/FTP – 100m |  | 1 |  | 0
Patch panel S/FTP Cat 7 – 24 19-inch rackable ports |  | 2 |  | 0
Patch panel S/FTP Cat 6a – 24 19-inch rackable ports |  | 2 |  | 0
TOTAL B : Material for Type I stock |  |  |  | 0
C. Type II installations and equipment under all-inclusive maintenance — description/type/model | Year of commissioning | Quantity | Monthly unit price | Monthly total price
X-ray bag scanner
HI-SCAN 7555i | 2010 | 3 |  | 0
RAPISCAN 522B | 2006 | 1 |  | 0
RAPISCAN 532 H | 2006 | 1 |  | 0
RAPISCAN 618XR | 2014, 3x2015, 2x2017, 2018 | 7 |  | 0
RAPISCAN 620XR | 3x2015, 2x2016, 2018 | 6 |  | 0
RAPISCAN 622XR | 9x2015, 9x2016 | 18 |  | 0
RAPISCAN 622XR old model | 2006 | 1 |  | 0
RAPISCAN 627DV | 2015 | 3 |  | 0
Walk-through metal detection gates (including hand detectors)
CEIA CLASSIC | 4x2006, 2x2010, 2017 | 7 |  | 0
CEIA PMD2+ | 2002, 2018 | 2 |  | 0
CEIA HI-PE+ | 14x2015, 4x2016 | 18 |  | 0
Garret Superscan | 2013 | 50 |  | 0
Shielded revolving door (including control panel)
Boon Edam Tourlock (TLAR4406) – 1.80m | 8x2015, 7x2016, 2017, 5x2018, 2019 | 22 |  | 0
Boon Edam Tourlock (TLAR4406) – 2.20m | 8x2015, 5x2016, 6x2017, 2x2018, 2x2019 | 23 |  | 0
Single-person security door (including control panel)
Boon Edam Circlelock BR4 – 1.50m | 4x2015, 7x2016, 7x2017, 3x2018, 2019 | 22 |  | 0
Safes
GUNNEBO DUOGARD 40S&S | 2008 | 1 |  | 0
CAJA FUERTES COBRA AS185 | 2019 | 1 |  | 0
GUNNEBO SM 55 KEY SAFE | 2018 | 2 |  | 0
GUNNEBO ENIGMA SECURITY CABINET | 2x2013, 11x2014, 6x2017, 2018 | 17 |  | 0
GUNNEBO CONFIDENT S1 10 | 2014 | 5 |  | 0
GUNNEBO HESTIA 130 | 2013 | 1 |  | 0
GUNNEBO TRIDENT | 2x2015, 7x2017 | 9 |  | 0
DE RAAT security cabinet | 2006 | 6 |  | 0
Argus, tripod, PMR, KABA gates
Automatic Systems | 2017 | 3 |  | 0
KABA Charon HSB-E07 | 2010 | 3 |  | 0
KABA Charon HSB-E03 | 2010 | 4 |  | 0
KABA Charon HSB-E01 | 2010 | 5 |  | 0
TOTAL C: All-inclusive maintenance of Type II installations and equipment (fixed amount per month) |  |  |  | 0
GRAND TOTAL (A + B + C) |  |  |  | 0
THE PRICE SCHEDULE MUST BE COMPLETED IN FULL OTHERWISE THE TENDER WILL BE EXCLUDED
The quantities for evaluation are not binding on the European Parliament.
Name:
Date:
Signature:

## STR
Lot 2 – STRASBOURG price schedule
A. Human resources – profiles |  | Number of staff | Daily unit price | Total price 220 days
Maintenance technician |  | 3 |  | 0
Programmer technician |  | 1 |  | 0
Administrative assistant |  | 1 |  | 0
CMMS manager |  | 1 |  | 0
Technical draughtsperson |  | 1 |  | 0
TOTAL A : Human resources |  |  |  | 0
B. Material for Type I stock – description/type/model |  | Quantity | Unit price | Total price
PC, servers, NAS, + accessories
6Gb/s SATA hard disk, 8Tb (operational 24h/24) MTTF 1 Mhour |  | 10 |  | 0
NAs Synology RS818RP +/4 racks, rackable/8Gb RAM |  | 2 |  | 0
Badge reader (BR) NEDAP, RDR, lift control
NEDAP Convex MD80 for recessed mounting |  | 5 |  | 0
NEDAP Convex MD80c for recessed mounting |  | 5 |  | 0
NEDAP Convex MD80 for surface mounting |  | 5 |  | 0
NEDAP Convex MD80c for surface mounting |  | 5 |  | 0
NEDAP Invexs 170 |  | 2 |  | 0
NEDAP Invexs 190 |  | 2 |  | 0
Controllers SMS, UGIS, NEDAP, AEOS, UPS, DCU, RCU, power peripherals, intrusion control panel
NEDAP AEOS blue door controller AP 7803 |  | 5 |  | 0
NEDAP AEOS access control controller AP 7003 |  | 5 |  | 0
NEDAP AEOS blue power supply AP 7021 |  | 5 |  | 0
NEDAP AEOS I/O interface AP 7031 |  | 5 |  | 0
Power supply 5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 3.5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 24v greater than 150w |  | 3 |  | 0
Power supply 24v greater than 600w |  | 3 |  | 0
Doors (TA, UGIS, SMS, NEDAP) + peripheral equipment
Electric strike – Effeff 131 left |  | 1 |  | 0
Electric strike – Effeff 131 right |  | 1 |  | 0
Electric strike – Openers and Closers 24 left |  | 5 |  | 0
Electric strike – Openers and Closers 24 right |  | 5 |  | 0
Electric strike – Openers and Closers 25 |  | 5 |  | 0
Cooper 460 TF 2 magnetic contact |  | 10 |  | 0
Alarmtech DC110 magnetic contact |  | 5 |  | 0
Electromechanical locks with high-security deadbolt (SER_HS and SER_HS_P) EFF-EFF EL532 |  | 5 |  | 0
Mounted maglocks +/-3000N (VM_3k) EM 3000AH / V3SR |  | 5 |  | 0
Shear maglocks (VM_3k_Shear) PWM25ER |  | 5 |  | 0
Mounted maglocks +/-5000N (VM_5k) EM 5300AH / V5SR |  | 5 |  | 0
Mounted maglocks +/-6500N (VM_6k) EM 7500-D AM |  | 5 |  | 0
BB-Lock – A1BSANOCYL-ASP |  | 1 |  | 0
BBG – Izyx RCP310G |  | 10 |  | 0
Push button EFFEFFF 1011 |  | 10 |  | 0
Buzzer – UTCAI673 |  | 2 |  | 0
TRAKA cabinets and Strip
Strip for TRAKA cabinet – 10 spaces |  | 3 |  | 0
Standard iFOB for TRAKA cabinet |  | 30 |  | 0
Car park: decoder, sign, detector
Schick signal park SP132LND or compatible |  | 10 |  | 0
Radio, accessories and chargers (Motorola MTP3550 radio)
NNTN8020 – 1650 mAh standard capacity li-ion battery |  | 10 |  | 0
PMLN5616 - 2” Belt clip |  | 10 |  | 0
85012033001 Antenna Stubby 380-430 MHz 80mm |  | 10 |  | 0
PMLN5724 2-wire surveillance kit with quick disconnect acoustic tube – complete kit |  | 10 |  | 0
RLN6242A acoustic tube assembly |  | 20 |  | 0
PMMN4072 – IMPRES large remote speaker microphone with noise-cancelling microphone, louder audio, audio jack and emergency button, IP54 |  | 5 |  | 0
NNTN8133 Personal radio charger with Euro plug adapter included in kit |  | 5 |  | 0
Desktop individual chargers: PMLN6494 – Desktop dual-unit charger for charging radio and spare battery simultaneously (Euro plug). Euro plug included in kit |  | 5 |  | 0
NNTN8152 Multi-unit charger with 6 battery pockets (Euro plug) |  | 5 |  | 0
NNTN8037 Battery charging insert for multi-unit charger |  | 5 |  | 0
NNTN8036 Radio charging insert for multi-unit charger, insert is iTM compatible |  | 5 |  | 0
CCTV camera
Axis P1375 |  | 1 |  | 0
Axis P3375 |  | 1 |  | 0
Axis Q1645 |  | 1 |  | 0
Axis M3057-PLVE |  | 1 |  | 0
Axis P1375-E + IR Box |  | 1 |  | 0
Axis P5635-E MKII |  | 1 |  | 0
Axis Q6155-E |  | 1 |  | 0
Power supply PoE++ - 60W |  | 10 |  | 0
PoE injector++ 8 ports - 60W |  | 5 |  | 0
Fibre converter 10/100/1000Mbps single |  | 10 |  | 0
Silent alarm and PRM WC alarm
Double Tap panic button with reset key – cable version |  | 2 |  | 0
Detectors (motion, seismic, IR beam)
OPTEX beam IR EX200TN (set) |  | 1 |  | 0
Aritech EV669 indoor motion sensor |  | 2 |  | 0
OPTEX VXS-DAM outdoor motion sensor |  | 1 |  | 0
Industrial batteries (Yuasa, Varta, Fiamm, Duracell or similar)
AGM 1.2Ah - 12v lead battery |  | 1 |  | 0
AGM 7Ah - 12v lead battery |  | 1 |  | 0
AGM 12Ah - 12v lead battery |  | 1 |  | 0
Cabling and cabling accessories
S/FTP Cat 7 - 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 7 - 100 pieces |  | 1 |  | 0
S/FTP Cat 6a - 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 6a - 100 pieces |  | 1 |  | 0
Schneider NSYTBP24198 BCR box |  | 2 |  | 0
Spelsberg RKK 4/18-18/4² |  | 10 |  | 0
NO tamper switch – 10mm approx. – surface mounting |  | 10 |  | 0
AL-LSOH signalling cable 2x0.75 + 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 4x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 8x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 3x0.75 + 15x0.22mm² halogen-free – 100m |  | 1 |  | 0
LiHCH halogen-free data transmission cable 3x2x0.25mm² – 100m |  | 1 |  | 0
Eurosafe fire-safety circuit cable 2x2x0.9mm RF2 – 100m |  | 1 |  | 0
TPGF halogen-free telephone cable 15x2x0.6mm – 200m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x2.5mm² – 50m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x1.5mm² – 50m |  | 1 |  | 0
LiHH halogen-free control cable 4x0.75mm² – 100m |  | 1 |  | 0
KONE Dynofil DATAWYLER 4x4x2x AWG 26 S/FTP – 100m |  | 1 |  | 0
Patch panel S/FTP Cat 7 – 24 19-inch rackable ports |  | 2 |  | 0
Patch panel S/FTP Cat 6a – 24 19-inch rackable ports |  | 2 |  | 0
TOTAL B: Material for Type I stock |  |  |  | 0
C. Type II installations and equipment under all-inclusive maintenance — description/type/model | Year of commissioning | Quantity | Monthly unit price | Monthly total price
X-ray bag scanner
RAPISCAN 522B | 2005 | 5 |  | 0
RAPISCAN 627DV | 2015 | 1 |  | 0
RAPISCAN 622XRW | 1x2006;1x2010 | 2 |  | 0
RAPISCAN 620XRW | 4x2015; 1x2017; 2x2018 | 7 |  | 0
RAPISCAN 626XRW | 2015 | 3 |  | 0
Walk-through metal detection gates (including hand detectors)
CEIA PMD2 | 1997 | 1 |  | 0
CEIA PMD2 PTZ | 2005 | 1 |  | 0
CEIA PMDZ ELLIPTIC | 2002 | 1 |  | 0
METOR 300 | 2010 | 1 |  | 0
METOR 300 Portable | 2010 | 2 |  | 0
CEIA CLASSIC | 2015 | 2 |  | 0
PMD2 ELIPTIC | 2002 | 1 |  | 0
02PN20 | 2002 | 1 |  | 0
METOR 250 | 2005 | 1 |  | 0
METOR 200 | 2010 | 1 |  | 0
CEIA HIPE PLUS | 3x2015; 1x2017; 2x2018 | 6 |  | 0
CEIA PD 140 | 2005 | 5 |  | 0
Shielded revolving door (including control panel)
Boon Edam Tourlock stereovision | 2016 | 1 |  | 0
Gunnebo Compac SAS RV2000 | 2018 | 6 |  | 0
Single-person security door (including control panel)
Gunnebo Compac SAS BA9R | 2018 | 4 |  | 0
Gunnebo Compac SAS BA | 2016 | 2 |  | 0
Safes
DE RATT | 2006 | 5 |  | 0
Gunnebo GSL 1000 | 1997 | 1 |  | 0
Fichet & Desautel | 1997 | 1 |  | 0
Argus, tripod, PMR, KABA gates
KABA Portillon Charon G3 PMR simple | 2x2007;3x2010;1x1999 | 6 |  | 0
KABA Charon HSB-E08 | 6x2007; 2x2012;2x2013;5x2011;3x2010 | 18 |  | 0
TOTAL C: All-inclusive maintenance of Type II installations and equipment (fixed amount per month) |  |  |  | 0
GRAND TOTAL (A + B + C) |  |  |  | 0
THE PRICE SCHEDULE MUST BE COMPLETED IN FULL OTHERWISE THE TENDER WILL BE EXCLUDED
The quantities for evaluation are not binding on the European Parliament.
Name:
Date:
Signature:

## LUX
Lot 3 – LUXEMBOURG price schedule
A. Human resources – profiles |  | Number of staff | Daily unit price | Total price 220 days
Maintenance technician |  | 2 |  | 0
Programmer technician |  | 1 |  | 0
Administrative assistant |  | 1 |  | 0
CMMS manager |  | 1 |  | 0
Technical draughtsperson |  | 1 |  | 0
TOTAL A: Human resources |  |  |  | 0
B. Material for Type I stock – description/type/model |  | Quantity | Unit price | Total price
PC, servers, NAS, + accessories
6Gb/s SATA hard disk, 8Tb (operational 24h/24) MTTF 1 Mhour |  | 10 |  | 0
NAs Synology RS818RP +/4 racks, rackable/8Gb RAM |  | 2 |  | 0
Badge reader (BR) NEDAP, RDR, lift control
NEDAP Convex MD80 for recessed mounting |  | 5 |  | 0
NEDAP Convex MD80c for recessed mounting |  | 5 |  | 0
NEDAP Convex MD80 for surface mounting |  | 5 |  | 0
NEDAP Convex MD80c for surface mounting |  | 5 |  | 0
NEDAP Invexs 170 |  | 2 |  | 0
NEDAP Invexs 190 |  | 2 |  | 0
Controllers SMS, UGIS, NEDAP, AEOS, UPS, DCU, RCU, power peripherals, intrusion control panel
NEDAP AEOS blue door controller AP 7803 |  | 5 |  | 0
NEDAP AEOS access control controller AP 7003 |  | 5 |  | 0
NEDAP AEOS blue power supply AP 7021 |  | 5 |  | 0
NEDAP AEOS I/O interface AP 7031 |  | 5 |  | 0
Power supply 5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 3.5A 12v with possibility of back-up industrial batteries below |  | 3 |  | 0
Power supply 24v greater than 150w |  | 3 |  | 0
Power supply 24v greater than 600w |  | 3 |  | 0
Doors (TA, UGIS, SMS, NEDAP) + peripheral equipment
Electric strike – Effeff 131 left |  | 1 |  | 0
Electric strike – Effeff 131 right |  | 1 |  | 0
Electric strike – Openers and Closers 24 left |  | 5 |  | 0
Electric strike – Openers and Closers 24 right |  | 5 |  | 0
Electric strike – Openers and Closers 25 |  | 5 |  | 0
Cooper 460 TF 2 magnetic contact |  | 10 |  | 0
Alarmtech DC110 magnetic contact |  | 5 |  | 0
Electromechanical locks with high-security deadbolt (SER_HS and SER_HS_P) EFF-EFF EL532 |  | 5 |  | 0
Mounted maglocks +/-3000N (VM_3k) EM 3000AH / V3SR |  | 5 |  | 0
Shear maglocks (VM_3k_Shear) PWM25ER |  | 5 |  | 0
Mounted maglocks +/-5000N (VM_5k) EM 5300AH / V5SR |  | 5 |  | 0
Mounted maglocks +/-6500N (VM_6k) EM 7500-D AM |  | 5 |  | 0
BBG – Izyx RCP310G |  | 10 |  | 0
Push button EFFEFFF 1011 |  | 10 |  | 0
Buzzer – UTCAI673 |  | 2 |  | 0
TRAKA cabinets and Strip
Strip for TRAKA cabinet – 10 spaces |  | 3 |  | 0
Standard iFOB for TRAKA cabinet |  | 30 |  | 0
Car park: decoder, sign, detector
Schick signal park SP132LND or compatible |  | 10 |  | 0
Radio, accessories and chargers (Motorola MTP3550 radio)
NNTN8020 – 1650 mAh standard capacity li-ion battery |  | 10 |  | 0
PMLN5616 - 2” Belt clip |  | 10 |  | 0
85012033001 Antenna Stubby 380-430 MHz 80mm |  | 10 |  | 0
PMLN5724 2-wire surveillance kit with quick disconnect acoustic tube – complete kit |  | 10 |  | 0
RLN6242A acoustic tube assembly |  | 20 |  | 0
PMMN4072 – IMPRES large remote speaker microphone with noise-cancelling microphone, louder audio, audio jack and emergency button, IP54 |  | 5 |  | 0
NNTN8133 Personal radio charger with Euro plug adapter included in kit |  | 5 |  | 0
Desktop individual chargers: PMLN6494 – Desktop dual-unit charger for charging radio and spare battery simultaneously (Euro plug). Euro plug included in kit |  | 5 |  | 0
NNTN8152 Multi-unit charger with 6 battery pockets (Euro plug) |  | 5 |  | 0
NNTN8037 Battery charging insert for multi-unit charger |  | 5 |  | 0
NNTN8036 Radio charging insert for multi-unit charger, insert is iTM compatible |  | 5 |  | 0
CCTV camera
Power supply PoE++ - 60W |  | 10 |  | 0
PoE injector++ 8 ports - 60W |  | 5 |  | 0
Fibre converter 10/100/1000Mbps single |  | 10 |  | 0
Silent alarm and PRM WC alarm
Double Tap panic button with reset key – cable version |  | 2 |  | 0
Detectors (motion, seismic, IR beam)
OPTEX beam IR EX200TN (set) |  | 1 |  | 0
Aritech EV669 indoor motion sensor |  | 2 |  | 0
OPTEX VXS-DAM outdoor motion sensor |  | 1 |  | 0
Industrial batteries (Yuasa, Varta, Fiamm, Duracell or similar)
AGM 1.2Ah – 12v lead battery |  | 1 |  | 0
AGM 7Ah – 12v lead battery |  | 1 |  | 0
AGM 12Ah – 12v lead battery |  | 1 |  | 0
Cabling and cabling accessories
S/FTP Cat 7 – 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 7 – 100 pieces |  | 1 |  | 0
S/FTP Cat 6a – 100m |  | 1 |  | 0
RJ45 connector for S/FTP shielded Cat 6a – 100 pieces |  | 1 |  | 0
Schneider NSYTBP24198 BCR box |  | 2 |  | 0
Spelsberg RKK 4/18-18/4² |  | 10 |  | 0
NO tamper switch – 10mm approx. – surface mounting |  | 10 |  | 0
AL-LSOH signalling cable 2x0.75 + 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 4x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 6x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 8x0.22mm² halogen-free – 100m |  | 1 |  | 0
AL-LSOH signalling cable 3x0.75 + 15x0.22mm² halogen-free – 100m |  | 1 |  | 0
LiHCH halogen-free data transmission cable 3x2x0.25mm² – 100m |  | 1 |  | 0
Eurosafe fire-safety circuit cable 2x2x0.9mm RF2 – 100m |  | 1 |  | 0
TPGF halogen-free telephone cable 15x2x0.6mm – 200m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x2.5mm² – 50m |  | 1 |  | 0
Halogen-free power cable XGB-F2-3x1.5mm² – 50m |  | 1 |  | 0
LiHH halogen-free control cable 4x0.75mm² – 100m |  | 1 |  | 0
KONE Dynofil DATAWYLER 4x4x2x AWG 26 S/FTP – 100m |  | 1 |  | 0
Patch panel S/FTP Cat 7 – 24 19-inch rackable ports |  | 2 |  | 0
Patch panel S/FTP Cat 6a – 24 19-inch rackable ports |  | 2 |  | 0
TOTAL B : Material for Type I stock |  |  |  | 0
C. Type II installations and equipment under all-inclusive maintenance – description/type/model | Year of commissioning | Quantity | Monthly unit price | Monthly total price
X-ray bag scanner
RAPISCAN 620XR | 2017 | 1 |  | 0
RAPISCAN 622XR | 2015; 4x2017; 3x2019 | 8 |  | 0
RAPISCAN 626XR | 2015 | 1 |  | 0
Walk-through metal detection gates (including hand detectors)
CEIA / PMD2 / PTZ | 2002 | 2 |  | 0
CEIA / PMD2 / Elliptic | 2002 | 4 |  | 0
CEIA / HI-PE / PLUS | 2015 | 3 |  | 0
CEIA / BC 140 | 2002 | 8 |  | 0
Shielded revolving door (including control panel)
TONALI REVOLVING MA1800 - 4 SECTORS | Not yet in service | 5 |  | 0
TONALI REVOLVING MA2300 - 4 SECTORS | Not yet in service | 4 |  | 0
Single-person security door (including control panel)
TONALI TONDA LIGHT K Family - SAS | Not yet in service | 8 |  | 0
Safes
FICHET BAUCHE / SECURE SAFE | 1996; 1997 | 2 |  | 0
CHUBBSAVE / DUOGARD GR | 2008 | 1 |  | 0
DE RAAT / DERA 1100 | 1993; 2x2006; 2012 | 4 |  | 0
FICHET BAUCHE / ENIGMA 75 | 1991; 2001 | 2 |  | 0
Argus, tripod, PMR, KABA gates
WANZEL ECOPORT / SINGLE | 2003 | 2 |  | 0
WANZEL ECOPORT / DOUBLE | 2003 | 1 |  | 0
WANZEL ECOPORT / Mechanical | 2003 | 1 |  | 0
AutomaticSystems SMART LANE912 - FT-FR-09 | Not yet in service | 5 |  | 0
TOTAL C: All-inclusive maintenance of Type II installations and equipment (fixed amount per month) |  |  |  | 0
TOTAL GENERAL (A + B + C) |  |  |  | 0
THE PRICE SCHEDULE MUST BE COMPLETED IN FULL OTHERWISE THE TENDER WILL BE EXCLUDED
The quantities for evaluation are not binding on the European Parliament.
Name:
Date:
Signature: